## 3241-C
Leak Test Log for Nuclear Devices
| Equipment ID: | Nuclear AC Gauge |  |  | Date: | November 2000
| Manufacturer: | Troxler, Inc. |  |  | Performed By. | Stacy G. Williams
| Model #: | 3241 - C |  |  | Perform On : | 12 month Intervals
| Serial #: | 1980
| Location: | ST (218)
| Calibration Item: | Perform Leak Test
| Calibration Procedure: | In-House Procedure
Calibration Equipment:
Date: | Person Performing Wipe Test |  | Results after analysis by Troxler |  |  | Next Calib. Due: | Initial by:
2000-11-01 | Stacy G. Williams |  |  | < 0.005 | μCi |  | sgw
2001-05-17 | Stacy G. Williams |  |  | < 0.005 | μCi |  | sgw
2001-11-16 | Stacy G. Williams |  |  | < 0.005 | μCi |  | sgw
2002-05-14 | Curt Osier |  |  | < 0.005 | μCi |  | sgw
2002-11-14 | Curt Osier |  |  | < 0.005 | μCi |  | sgw
2003-05-23 | Curt Osier |  |  | < 0.005 | μCi |  | sgw
2003-11-21 | Stacy G. Williams |  |  | < 0.005 | μCi |  | sgw
2004-05-21 | Stacy G. Williams |  |  | < 0.005 | μCi |  | sgw
2004-11-22 | Frances Griffith |  |  | < 0.005 | μCi |  | sgw
2005-05-23 | Stephan Durham |  |  | < 0.005 | μCi |  | sgw
2005-11-30 | Stacy G. Williams |  |  | < 0.005 | μCi |  | sgw
2006-02-20 | Stacy G. Williams |  |  | < 0.005 | μCi |  | sgw
2006-08-10 | Stacy G. Williams |  |  | < 0.005 | μCi |  | sgw
2007-03-30 | Stacy G. Williams |  |  | < 0.005 | μCi |  | sgw
2007-08-31 | Stacy G. Williams |  |  | < 0.005 | μCi |  | sgw
2008-02-29 | Rosalie Conley |  |  | < 0.005 | μCi |  | sgw
2008-08-26 | Stacy G. Williams |  |  | < 0.005 | μCi |  | sgw
2009-02-12 | Stacy G. Williams |  |  | < 0.005 | μCi | 2/12/10 | sgw
2010-02-15 | Mary Fleck |  |  | < 0.005 | μCi | 2011-02-15 | sgw
2011-02-08 | Mary Fleck |  |  | < 0.005 | μCi | 2/8/2012 | sgw
2012-02-24 | Stacy G. Williams |  |  | < 0.005 | μCi | 2/24/2013 | sgw
2013-02-05 | Stacy G. Williams |  |  | < 0.005 | μCi | 2/5/14 | sgw
2014-02-18 | Stacy G. Williams |  |  | < 0.005 | μCi | 2/18/15 | sgw
2015-02-03 | Stacy G. Williams |  |  | < 0.005 | μCi | 2/3/16

## 3430
Leak Test Log for Nuclear Devices
| Equipment ID: | Nuclear Gauge |  | Date: | 2000
| Manufacturer: | Troxler, Inc. |  | Performed By. | Various
| Model #: | 3430 |  | Perform On : | 12 month interval
| Serial #: | 28086
| UofA ID: | 240394
| Location: | STO (218)
| Calibration Item: | Perform Leak Test
| Calibration Procedure: | In-House Procedure #00-15
| Calibration Equipment: | Radiac wash, paper disk, etc.
Date: | Person Performing Wipe Test |  | Results after analysis by Troxler |  | Next Calib. Due: | Initial by:
2000-11-01 | Stacy G. Williams |  | < 0.005 μCi |  | May 2001 | sgw
2001-03-01 | Stacy G. Williams |  | < 0.005 μCi |  | Sept. 2001 | sgw
2001-09-04 | Stacy G. Williams |  | < 0.005 μCi |  | Mar. 2002 | sgw
2002-03-08 | Curt Osier |  | < 0.005 μCi |  | Sept. 2002 | sgw
2002-09-09 | Curt Osier |  | < 0.005 μCi |  | Mar. 2003 | sgw
2003-03-25 | Steve James (Troxler) |  | < 0.005 μCi |  | Sept. 2003 | sgw
2003-09-23 | Stacy G. Williams |  | < 0.005 μCi |  | Mar. 2004 | sgw
2004-03-24 | Stacy G. Williams |  | < 0.005 μCi |  | Sept. 2004 | sgw
2004-09-23 | Stacy G. Williams |  | < 0.005 μCi |  | Mar. 2005 | sgw
2005-04-04 | Stephan Durham |  | < 0.005 μCi |  | Sept. 2005 | sgw
2005-08-04 | Harry Pendelton (Troxler) |  | < 0.005 μCi |  | Feb. 2006 | sgw
2006-02-20 | Stacy G. Williams |  | < 0.005 μCi |  | Aug. 2006 | sgw
2006-08-10 | Stacy G. Williams |  | < 0.005 μCi |  | Feb. 2007 | sgw
2007-03-30 | Stacy G. Williams |  | < 0.005 μCi |  | Aug. 2007 | sgw
2007-07-02 | Harry Pendelton (Troxler) |  | < 0.005 μCi |  | Jan. 2008 | sgw
2007-08-31 | Stacy G. Williams |  | < 0.005 μCi |  | Feb. 2008 | sgw
2008-02-29 | Roselie Conley |  | < 0.005 μCi |  | Aug. 2009 | sgw
2008-08-26 | Stacy G. Williams |  | < 0.005 μCi |  | Feb. 2010 | sgw
2009-02-12 | Stacy G. Williams |  | < 0.005 μCi |  | Aug. 2010 | sgw
2009-06-29 | T. Pjura (Troxler) |  | < 0.005 μCi |  | June 2010 | sgw
Feb. 2009 - ADH allowed U of A to use 12 month interval for leak tests.
2010-06-23 | Stacy G. Williams |  | < 0.005 μCi |  | June 2011 | sgw
2011-06-29 | C. Effekhar (Troxler) |  | < 0.005 μCi |  | June 2012 | sgw
2012-06-29 | Mary Fleck |  | < 0.005 μCi |  | June 2013 | sgw
2013-06-27 | NL (Troxler) |  | < 0.005 μCi |  | June 2014 | sgw
2014-06-09 | Stacy G. Williams |  | < 0.005 μCi |  | June 2015 | sgw
2015-06-08 | Stacy G. Williams |  | < 0.005 μCi |  | June 2016

## 3450
Leak Test Log for Nuclear Devices
| Equipment ID: | Nuclear Gauge |  | Date: | 2000
| Manufacturer: | Troxler, Inc. |  | Performed By. | Various
| Model #: | 3450 |  | Perform On : | 12 month interval
| Serial #: | 42
| UofA ID: | 239646
| Location: | STO (218)
| Calibration Item: | Perform Leak Test
| Calibration Procedure: | In-House Procedure #00-15
| Calibration Equipment: | Radiac wash, paper disk, etc.
Date: | Person Performing Wipe Test |  | Results after analysis by Troxler |  | Next Calib. Due: | Initial by:
2000-11-01 | Stacy G. Williams |  | < 0.005 μCi |  | May 2001 | sgw
2001-02-08 | Stacy G. Williams |  | < 0.005 μCi |  | Aug. 2001 | sgw
2001-02-16 | Greg Wells (Troxler) |  | < 0.005 μCi |  | Aug. 2001 | sgw
2001-08-08 | Stacy G. Williams |  | < 0.005 μCi |  | Feb. 2002 | sgw
2002-02-05 | Curt Osier |  | < 0.005 μCi |  | Aug. 2002 | sgw
2002-08-05 | Curt Osier |  | < 0.005 μCi |  | Feb. 2003 | sgw
2003-02-10 | Curt Osier |  | < 0.005 μCi |  | Aug. 2003 | sgw
2003-03-25 | Steve James (Troxler) |  | < 0.005 μCi |  | Sept. 2003 | sgw
2003-09-23 | Stacy G. Williams |  | < 0.005 μCi |  | Mar. 2004 | sgw
2004-02-19 | Harry Pendelton (Troxler) |  | < 0.005 μCi |  | Aug. 2004 | sgw
2004-08-19 | Stacy G. Williams |  | < 0.005 μCi |  | Feb. 2005 | sgw
2005-02-24 | Stephan Durham |  | < 0.005 μCi |  | Aug. 2005 | sgw
2005-09-20 | Stacy G. Williams |  | < 0.005 μCi |  | Mar. 2006 | sgw
2006-02-20 | Stacy G. Williams |  | < 0.005 μCi |  | Aug. 2006 | sgw
2006-08-10 | Stacy G. Williams |  | < 0.005 μCi |  | Feb. 2007 | sgw
2007-03-30 | Stacy G. Williams |  | < 0.005 μCi |  | Sept. 2007 | sgw
2007-08-31 | Stacy G. Williams |  | < 0.005 μCi |  | Feb. 2008 | sgw
2008-01-02 | Troxler |  | < 0.005 μCi |  | June 2008 | sgw
2008-02-29 | Roselie Conley |  | < 0.005 μCi |  | Aug. 2008 | sgw
2008-08-26 | Stacy G. Williams |  | < 0.005 μCi |  | Feb. 2009 | sgw
2009-02-12 | Stacy G. Williams |  | < 0.005 μCi |  | Feb. 2010 | sgw
Feb. 2009 - ADH allowed U of A to use 12 month interval for leak tests.
3/10/010 | T. Pjura (Troxler) |  | < 0.005 μCi |  | Mar. 2011 | sgw
2011-03-10 | Stacy G. Williams |  | < 0.005 μCi |  | Mar. 2012 | sgw
2012-03-07 | Rose (Troxler) |  | < 0.005 μCi |  | Mar. 2013 | sgw
2013-03-06 | Stacy G. Williams |  | < 0.005 μCi |  | Mar. 2014 | sgw
2014-03-31 | Stacy G. Williams |  | < 0.005 μCi |  | Mar. 2015 | sgw
2015-03-09 | Stacy G. Williams |  | < 0.005 μCi |  | Mar. 2015
2015-04-03 | Alkaline batteries replaced. |  |  |  |  | DP