## WS
Timer Calibration Worksheet
Equipment ID: | [6 empty] | Date:
Manufacturer: | [6 empty] | Performed by:
Model #:
Serial #: | [6 empty] | Next Calibration Due: | 12 month Interval
UofA ID: | [6 empty] | Last Calibration:
Location:
|  |  | Calibration Item: |  | Verify time readings
|  |  | Calibration Procedure: |  | In-House Procedure #00-3
|  |  | Calibration Equipment: |  | 2XS Sports timer, Model #SF002
Time:
| Control Timer Reading (A) |  |  | Test Timer Reading (B)
Date: | Min. | Sec. | 1/100 | Min. | Sec. | ± 0.5 % % Error | Pass/Fail | Performed By | Initial By
Calculate % Error:
|  |  | % Error = |  | (B - A) x 100
A

## Timer (3)
Timer Calibration Worksheet
Equipment ID: | Timer 3 | [5 empty] | Date: | 2008
Manufacturer: | LUX | [5 empty] | Performed by:
Model #: | Minute Minder
Serial #: | NA | [5 empty] | Next Calibration Due: | 12 month Interval
UofA ID: | NA | [5 empty] | Last Calibration: | (new)
Location: | CL (220)
|  |  | Calibration Item: |  | Verify time readings
|  |  | Calibration Procedure: |  | In-House Procedure #00-3
|  |  | Calibration Equipment: |  | 2XS Sports timer, Model #SF002
Time:
| Control Timer Reading (A) |  |  | Test Timer Reading (B)
Date: | Min. | Sec. | 1/100 | Min. | Sec. | ± 0.5 % % Error | Pass/Fail | Performed By | Initial By
2008-11-04 | 15 | 0 | 16 | 15 | 0 | -0.017775 | Pass | A. Nugyen | sgw
2009-11-30 | 25 | 37 | 78 | 25 | 37 | -0.050722 | Pass | M. Fleck | sgw
2010-11-12 | 16 | 54 | 14 | 16 | 54 | -0.013805 | Pass | M. Fleck | sgw
2011-11-01 | 21 | 31 | 87 | 21 | 32 | 0.010063 | Pass | M. Fleck | sgw
2012-11-12 | 20 | 30 | 77 | 20 | 30 | -0.062562 | Pass | M. Fleck | sgw
2013-11-27 | 20 | 54 | 97 | 20 | 55 | 0.0023905 | Pass | M. Fleck | sgw
2014-11-20 | Missing - OOS (not replaced) | [6 empty] | M. Fleck
Calculate % Error:
|  |  | % Error = |  | (B - A) x 100
A

## Timer (5)
Timer Calibration Worksheet
Equipment ID: | Timer 5 | [5 empty] | Date: | 2009
Manufacturer: | Accurite | [5 empty] | Performed by:
Model #: | Count Down
Serial #: | NA | [5 empty] | Next Calibration Due: | 12 month Interval
UofA ID: | NA | [5 empty] | Last Calibration: | (new)
Location: | CL (220)
|  |  | Calibration Item: |  | Verify time readings
|  |  | Calibration Procedure: |  | In-House Procedure #00-3
|  |  | Calibration Equipment: |  | 2XS Sports timer, Model #SF002
Time:
| Control Timer Reading (A) |  |  | Test Timer Reading (B)
Date: | Min. | Sec. | 1/100 | Min. | Sec. | ± 0.5 % % Error | Pass/Fail | Performed By | Initial By
2009-03-11 | 15 | 0 | 28 | 15 | 0 | -0.031101 | Pass | M. Fleck | sgw
2009-11-30 | 17 | 55 | 81 | 17 | 55 | -0.075292 | Pass | M. Fleck | sgw
2010-11-12 | 15 | 10 | 3 | 15 | 10 | -0.0032966 | Pass | M. Fleck | sgw
2011-11-01 | 20 | 53 | 17 | 20 | 53 | -0.013566 | Pass | M. Fleck | sgw
2012-11-12 | 20 | 30 | 65 | 20 | 30 | -0.052818 | Pass | M. Fleck | sgw
2013-11-27 | 18 | 44 | 75 | 18 | 44 | -0.066681 | Pass | M. Fleck | sgw
2014-11-20 | Broken - OOS (not replaced) | [6 empty] | M. Fleck
Calculate % Error:
|  |  | % Error = |  | (B - A) x 100
A

## Timer (6)
Timer Calibration Worksheet
Equipment ID: | Timer 6 | [5 empty] | Date: | 2009
Manufacturer: | Accurite | [5 empty] | Performed by:
Model #: | Count Down
Serial #: | NA | [5 empty] | Next Calibration Due: | 12 month Interval
UofA ID: | NA | [5 empty] | Last Calibration: | (new)
Location: | CL (220)
|  |  | Calibration Item: |  | Verify time readings
|  |  | Calibration Procedure: |  | In-House Procedure #00-3
|  |  | Calibration Equipment: |  | 2XS Sports timer, Model #SF002
Time:
| Control Timer Reading (A) |  |  | Test Timer Reading (B)
Date: | Min. | Sec. | 1/100 | Min. | Sec. | ± 0.5 % % Error | Pass/Fail | Performed By | Initial By
2009-03-11 | 18 | 13 | 44 | 18 | 14 | 0.051215 | Pass | M. Fleck | sgw
2009-11-30 | 25 | 55 | 90 | 25 | 55 | -0.057844 | Pass | M. Fleck | sgw
2010-11-12 | 15 | 5 | 25 | 15 | 5 | -0.027617 | Pass | M. Fleck | sgw
2011-11-01 | 20 | 31 | 33 | 20 | 32 | 0.054413 | Pass | M. Fleck | sgw
2012-11-12 | 20 | 2 | 50 | 20 | 2 | -0.04158 | Pass | M. Fleck | sgw
2013-11-27 | 15 | 4 | 18 | 15 | 5 | 0.09069 | Pass | M. Fleck | sgw
2014-11-20 | 38 | 20 | 0 | 38 | 20 | 0 | Pass | M. Fleck | sgw
2015-11-05 | 19 | 48 | 31 | 19 | 48 | -0.026087 | Pass | M. Fleck
Calculate % Error:
|  |  | % Error = |  | (B - A) x 100
A

## Timer (7)
Timer Calibration Worksheet
Equipment ID: | Timer 7 | [5 empty] | Date: | 2013
Manufacturer: | Oneida | [5 empty] | Calibration Interval | 12 months
Model #: | 7938
Serial #: | NA | [5 empty] | Next Calibration Due: | Nov 2013
UofA ID: | NA | [5 empty] | Last Calibration: | (new)
Location: | ST (218)
|  |  | Calibration Item: |  | Verify time readings
|  |  | Calibration Procedure: |  | In-House Procedure #00-3
|  |  | Calibration Equipment: |  | 2XS Sports timer, Model #SF002
Time:
| Control Timer Reading (A) |  |  | Test Timer Reading (B)
Date: | Min. | Sec. | 1/100 | Min. | Sec. | ± 0.5 % % Error | Pass/Fail | Performed By | Initial By
2013-05-08 | 15 | 22 | 63 | 15 | 23 | 0.040103 | Pass | M. Fleck | sgw
2013-11-27 | 17 | 51 | 72 | 17 | 52 | 0.026126 | Pass | M. Fleck | sgw
2014-11-20 | 15 | 0 | 0 | 15 | 0 | 0 | Pass | M. Fleck | sgw
2015-11-05 | 22 | 29 | 0 | 22 | 29 | 0 | Pass | M. Fleck
Calculate % Error:
|  |  | % Error = |  | (B - A) x 100
A