## Kessler (Dial)(CA 1)
Thermometer Calibration Worksheet
Equipment ID: | Concrete Thermometer 2 |  |  | Date: | 5/14/07
Manufacturer: | Test Mark |  |  | Performed by: | ftg / RC
Model #: | CA - 0760
Serial #: | NA |  |  | Next Calibration Due: | Nov. 2007
UofA ID: | NA |  |  | Last Calibration: | New
Location: | ST (218)
|  |  |  | Typical Set Temperature: | 70 ° F | deg.
| Calibration Item: |  | Verify temperature readings
| Calibration Procedure: |  | In-House Procedure #00-9
| Calibration Equipment: |  | NIST Traceable Calibration Thermometers, ASTM 63F, cat# 1322
Temperature Measurement (deg.)
| Temp. Setting |  | Reading | Correction
| 52 |  | 52 | 0
| 82 |  | 82 | 0
| 89 |  | 89 | 0
.
| Pass/Fail: |  | Pass
Comments:
[5 empty] | Initial By: | sgw