## Kessler (Dial)(SP 7)
Thermometer Calibration Worksheet
Equipment ID: | Thermometer (Sulfur Pot) 7 |  |  | Date: | 4/24/12
Manufacturer: | Kessler |  |  | Performed by: | Deshinka
Model #: | Gilson MA - 122
Serial #: | NA |  |  | Next Calibration Due: | April 2013
UofA ID: | 30 - 300° F (2°) |  |  | Last Calibration: | April 2011
Location: | STO (218)
|  |  |  | Typical Set Temperature: | 265 °F | deg.
(Sulfur)
| Calibration Item: |  | Verify temperature readings
| Calibration Procedure: |  | In-House Procedure #00-9
| Calibration Equipment: |  | NIST Traceable Calibration Thermometers, ASTM 63F, 65F, 67F
Temperature Measurement (deg.)
| Temp. Setting |  | Reading | Correction
| 44.2 |  | 44 | 0.2
| 97.4 |  | 98 | -0.6
| 231.3 |  | 231 | 0.3
.
| Pass/Fail: |  | Pass
| Comments: |  | No correction needed.
[5 empty] | Initial By: | sgw

## Kessler (Dial)(CA 2)
Thermometer Calibration Worksheet
Equipment ID: | Concrete Thermometer 2 |  |  | Date: | 4/24/12
Manufacturer: | Gilson (Kessler) |  |  | Performed by: | Deshinka
Model #: | MA 121F
Serial #: | NA |  |  | Next Calibration Due: | April 2013
UofA ID: | 25 - 125° F (1 °) |  |  | Last Calibration: | April 2011
Location: | Stor (218)
|  |  |  | Typical Set Temperature: | 70 ° F | deg.
| Calibration Item: |  | Verify temperature readings
| Calibration Procedure: |  | In-House Procedure #00-9
| Calibration Equipment: |  | NIST Traceable Calibration Thermometers, ASTM 63F, cat# 1322
Temperature Measurement (deg.)
| Temp. Setting |  | Reading | Correction
| 44.2 |  | 44 | 0.2
| 72.5 |  | 72 | 0.5
| 107.6 |  | 107.5 | 0.1
.
| Pass/Fail: |  | Pass
Comments:
Initial By: