## 2" Sieve
Sieve Calibration Worksheet
|  | Equipment ID: | 2" Sieve |  |  |  |  | Serial #: | 11147403
|  | Manufacturer: | Gilson |  |  |  |  | UofA ID: | NA
|  | Model #: | V8SF"200 |  |  |  |  | Location: | ST (218)
| Calibration Item: | Verify physical condition and critical dimensions for sieves (#4 and larger)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
| Requirement (according to AASHTO M 92) = |  |  |  |  | 50 ± 1.50 mm
(48.5mm - 51.5mm)
|  | Date: | 9/4/12 |  |  |  |  | Date: | 9/10/13
|  | Performed by: | Thomas Moss |  |  |  |  | Performed by: | Abiy G.
|  | Next Calib. Due: | Sept. 2013 |  |  |  |  | Next Calib. Due: | Sept. 2014
|  | Last Calibration: | Sept. 2011 |  |  |  |  | Last Calibration: | Sept. 2012
|  | 1 | 49.60 mm |  | 49.95 mm |  |  | 1 | 49.87 mm |  | 49.56 mm
|  | 2 | 50.47 mm |  | 50.07 mm |  |  | 2 | 49.99 mm |  | 50.82 mm
|  | 3 | 50.03 mm |  | 50.86 mm |  |  | 3 | 49.97 mm |  | 50.61 mm
|  | 4 | 50.66 mm |  | 50.10 mm |  |  | 4 | 50.58 mm |  | 49.92 mm
|  | 5 | 50.09 mm |  | 50.75 mm |  |  | 5 | 50.40 mm |  | 49.71 mm
|  | 6 | [5 empty] | 6
|  | 7 | [5 empty] | 7
|  | 8 | [5 empty] | 8
|  | 9 | [5 empty] | 9
|  | 10 | [5 empty] | 10
|  | Frame: | Excellent |  |  |  |  | Frame: | Excellent
|  | Joints: | Excellent |  |  |  |  | Joints: | Excellent
|  | Cloth: | Excellent |  |  |  |  | Cloth: | Excellent
|  | Tightness: | Excellent |  |  |  |  | Tightness: | Excellent
|  | Other: | [5 empty] | Other:
| Comments: | [5 empty] | Comments:
|  |  | Pass/Fail: | Pass |  |  |  |  | Pass/Fail: | Pass
|  |  | Initial By: | [5 empty] | Initial By:

## 1.5" Sieve
Sieve Calibration Worksheet
|  | Equipment ID: | 1 1/2" Sieve |  |  |  |  | Serial #: | 11147404
|  | Manufacturer: | Gilson |  |  |  |  | UofA ID: | NA
|  | Model #: | V8SS"150 |  |  |  |  | Location: | ST (218)
| Calibration Item: | Verify physical condition and critical dimensions for sieves (#4 and larger)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
| Requirement (according to AASHTO M 92) = |  |  |  |  | 37.5 ± 1.10 mm
(36.4mm - 38.6mm)
|  | Date: | 9/4/12 |  |  |  |  | Date: | 9/10/13
|  | Performed by: | Thomas Moss |  |  |  |  | Performed by: | Abiy G.
|  | Next Calib. Due: | Sept. 2013 |  |  |  |  | Next Calib. Due: | Sept. 2014
|  | Last Calibration: | Sept. 2011 |  |  |  |  | Last Calibration: | Sept. 2012
|  | 1 | 37.66 mm |  | 37.38 mm |  |  | 1 | 38.38 mm |  | 37.58 mm
|  | 2 | 37.65 mm |  | 37.37 mm |  |  | 2 | 37.15 mm |  | 37.67 mm
|  | 3 | 37.21 mm |  | 37.62 mm |  |  | 3 | 36.96 mm |  | 37.64 mm
|  | 4 | 37.51 mm |  | 37.15 mm |  |  | 4 | 37.04 mm |  | 37.58 mm
|  | 5 | 37.38 mm |  | 37.97 mm |  |  | 5 | 37.47 mm |  | 37.79 mm
|  | 6 | 37.63 mm |  | 37.74 mm |  |  | 6 | 37.33 mm |  | 37.85 mm
|  | 7 | 37.88 mm |  | 37.50 mm |  |  | 7 | 37.43 mm |  | 37.60 mm
|  | 8 | 37.95 mm |  | 37.69 mm |  |  | 8 | 37.41 mm |  | 37.56 mm
|  | 9 | 37.69 mm |  | 37.20 mm |  |  | 9 | 37.63 mm |  | 37.96 mm
|  | 10 | 37.90 mm |  | 37.74 mm |  |  | 10 | 38.02 mm |  | 37.45 mm
|  | Frame: | Excellent |  |  |  |  | Frame: | Excellent
|  | Joints: | Excellent |  |  |  |  | Joints: | Excellent
|  | Cloth: | Excellent |  |  |  |  | Cloth: | Excellent
|  | Tightness: | Excellent |  |  |  |  | Tightness: | Excellent
|  | Other: | [5 empty] | Other:
| Comments: | [5 empty] | Comments:
|  |  | Pass/Fail: | Pass |  |  |  |  | Pass/Fail: | Pass
|  |  | Initial By: | [5 empty] | Initial By:

## 1" Sieve
Sieve Calibration Worksheet
|  | Equipment ID: | 1" Sieve |  |  |  |  | Serial #: | 11147405
|  | Manufacturer: | Gilson |  |  |  |  | UofA ID: | NA
|  | Model #: | V8SF"100 |  |  |  |  | Location: | ST(218)
| Calibration Item: | Verify physical condition and critical dimensions for sieves (#4 and larger)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
| Requirement (according to AASHTO M 92) = |  |  |  |  | 25 ± 0.80 mm
(24.2mm - 25.8mm)
|  | Date: | 9/4/12 |  |  |  |  | Date: | 9/10/13
|  | Performed by: | Thomas Moss |  |  |  |  | Performed by: | Abiy G.
|  | Next Calib. Due: | Sept. 2013 |  |  |  |  | Next Calib. Due: | Sept. 2014
|  | Last Calibration: | Sept. 2011 |  |  |  |  | Last Calibration: | Sept. 2012
|  | 1 | 25.18 mm |  | 25.09 mm |  |  | 1 | 25.04 mm |  | 25.34 mm
|  | 2 | 25.17 mm |  | 24.99 mm |  |  | 2 | 24.91 mm |  | 25.13 mm
|  | 3 | 25.43 mm |  | 25.09 mm |  |  | 3 | 24.88 mm |  | 24.95 mm
|  | 4 | 25.32 mm |  | 25.01 mm |  |  | 4 | 24.99 mm |  | 24.96 mm
|  | 5 | 25.23 mm |  | 25.08 mm |  |  | 5 | 25.10 mm |  | 25.10 mm
|  | 6 | 25.10 mm |  | 25.15 mm |  |  | 6 | 24.98 mm |  | 24.87 mm
|  | 7 | 24.90 mm |  | 24.96 mm |  |  | 7 | 24.84 mm |  | 25.28 mm
|  | 8 | 25.03 mm |  | 25.09 mm |  |  | 8 | 24.83 mm |  | 25.05 mm
|  | 9 | 25.11 mm |  | 24.90 mm |  |  | 9 | 24.78 mm |  | 24.91 mm
|  | 10 | 25.38 mm |  | 24.98 mm |  |  | 10 | 24.84 mm |  | 25.15 mm
|  | Frame: | Excellent |  |  |  |  | Frame: | Excellent
|  | Joints: | Excellent |  |  |  |  | Joints: | Excellent
|  | Cloth: | Excellent |  |  |  |  | Cloth: | Excellent
|  | Tightness: | Excellent |  |  |  |  | Tightness: | Excellent
|  | Other: | [5 empty] | Other:
| Comments: | [5 empty] | Comments:
|  |  | Pass/Fail: | Pass |  |  |  |  | Pass/Fail: | Pass
|  |  | Initial By: | [5 empty] | Initial By:

## .75" Sieve
Sieve Calibration Worksheet
|  | Equipment ID: | 3/4" Sieve |  |  |  |  | Serial #: | 11147406
|  | Manufacturer: | Gilson |  |  |  |  | UofA ID: | NA
|  | Model #: | V8SF"075 |  |  |  |  | Location: | ST(218)
| Calibration Item: | Verify physical condition and critical dimensions for sieves (#4 and larger)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
| Requirement (according to AASHTO M 92) = |  |  |  |  | 19 ± 0.60 mm
(18.4mm - 19.6mm)
|  | Date: | 9/4/12 |  |  |  |  | Date: | 9/10/13
|  | Performed by: | Thomas Moss |  |  |  |  | Performed by: | Abiy G.
|  | Next Calib. Due: | Sept. 2013 |  |  |  |  | Next Calib. Due: | Sept. 2014
|  | Last Calibration: | Sept. 2011 |  |  |  |  | Last Calibration: | Sept. 2012
|  | 1 | 19.14 mm |  | 18.87 mm |  |  | 1 | 18.97 mm |  | 19.13 mm
|  | 2 | 18.89 mm |  | 18.98 mm |  |  | 2 | 19.01 mm |  | 19.02 mm
|  | 3 | 18.93 mm |  | 19.27 mm |  |  | 3 | 18.98 mm |  | 19.07 mm
|  | 4 | 19.22 mm |  | 19.21 mm |  |  | 4 | 18.83 mm |  | 19.03 mm
|  | 5 | 19.03 mm |  | 19.26 mm |  |  | 5 | 19.16 mm |  | 18.98 mm
|  | 6 | 18.95 mm |  | 19.11 mm |  |  | 6 | 19.42 mm |  | 18.87 mm
|  | 7 | 19.00 mm |  | 18.96 mm |  |  | 7 | 18.89 mm |  | 19.01 mm
|  | 8 | 19.09 mm |  | 19.10 mm |  |  | 8 | 18.95 mm |  | 19.06 mm
|  | 9 | 18.95 mm |  | 19.06 mm |  |  | 9 | 19.15 mm |  | 19.09 mm
|  | 10 | 19.25 mm |  | 19.23 mm |  |  | 10 | 18.68 mm |  | 19.20 mm
|  | Frame: | Excellent |  |  |  |  | Frame: | Excellent
|  | Joints: | Excellent |  |  |  |  | Joints: | Excellent
|  | Cloth: | Excellent |  |  |  |  | Cloth: | Excellent
|  | Tightness: | Excellent |  |  |  |  | Tightness: | Excellent
|  | Other: | [5 empty] | Other:
| Comments: | [5 empty] | Comments:
|  |  | Pass/Fail: | Pass |  |  |  |  | Pass/Fail: | Pass
|  |  | Initial By: | [5 empty] | Initial By:

## .5" Sieve
Sieve Calibration Worksheet
|  | Equipment ID: | 1/2" Sieve |  |  |  |  | Serial #: | 11147407
|  | Manufacturer: | Gilson |  |  |  |  | UofA ID: | NA
|  | Model #: | V8SF"050 |  |  |  |  | Location: | ST(218)
| Calibration Item: | Verify physical condition and critical dimensions for sieves (#4 and larger)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
| Requirement (according to AASHTO M 92) = |  |  |  |  | 12.5 ± 0.39 mm
(12.11mm-12.89mm)
|  | Date: | 9/4/12 |  |  |  |  | Date: | 9/10/13
|  | Performed by: | Thomas Moss |  |  |  |  | Performed by: | Abiy G.
|  | Next Calib. Due: | Sept. 2013 |  |  |  |  | Next Calib. Due: | Sept. 2014
|  | Last Calibration: | Sept. 2011 |  |  |  |  | Last Calibration: | Sept. 2012
|  | 1 | 12.41 mm |  | 12.64 mm |  |  | 1 | 12.66 mm |  | 12.72 mm
|  | 2 | 12.56 mm |  | 12.60 mm |  |  | 2 | 12.71 mm |  | 12.66 mm
|  | 3 | 12.55 mm |  | 12.61 mm |  |  | 3 | 12.59 mm |  | 12.60 mm
|  | 4 | 12.73 mm |  | 12.65 mm |  |  | 4 | 12.63 mm |  | 12.54 mm
|  | 5 | 12.68 mm |  | 12.36 mm |  |  | 5 | 12.69 mm |  | 12.65 mm
|  | 6 | 12.71 mm |  | 12.60 mm |  |  | 6 | 12.65 mm |  | 12.63 mm
|  | 7 | 12.69 mm |  | 12.59 mm |  |  | 7 | 12.72 mm |  | 12.60 mm
|  | 8 | 12.73 mm |  | 12.63 mm |  |  | 8 | 12.70 mm |  | 12.62 mm
|  | 9 | 12.58 mm |  | 12.51 mm |  |  | 9 | 12.84 mm |  | 12.67 mm
|  | 10 | 12.74 mm |  | 12.56 mm |  |  | 10 | 12.67 mm |  | 12.54 mm
|  | Frame: | Excellent |  |  |  |  | Frame: | Excellent
|  | Joints: | Excellent |  |  |  |  | Joints: | Excellent
|  | Cloth: | Excellent |  |  |  |  | Cloth: | Excellent
|  | Tightness: | Excellent |  |  |  |  | Tightness: | Excellent
|  | Other: | [5 empty] | Other:
| Comments: | [5 empty] | Comments:
|  |  | Pass/Fail: | Pass |  |  |  |  | Pass/Fail: | Pass
|  |  | Initial By: | [5 empty] | Initial By:

## 3-8" Sieve
Sieve Calibration Worksheet
|  | Equipment ID: | 3/8" Sieve |  |  |  |  | Serial #: | 11147408
|  | Manufacturer: | Gilson |  |  |  |  | UofA ID: | NA
|  | Model #: | V8SF"038 |  |  |  |  | Location: | ST(218)
| Calibration Item: | Verify physical condition and critical dimensions for sieves (#4 and larger)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
| Requirement (according to AASHTO M 92) = |  |  |  |  | 9.5 ± 0.30 mm
(9.20mm-9.80mm)
|  | Date: | 9/4/12 |  |  |  |  | Date: | 9/10/13
|  | Performed by: | Thomas Moss |  |  |  |  | Performed by: | Abiy G.
|  | Next Calib. Due: | Sept. 2013 |  |  |  |  | Next Calib. Due: | Sept. 2014
|  | Last Calibration: | Sept. 2011 |  |  |  |  | Last Calibration: | Sept. 2012
|  | 1 | 9.67 mm |  | 9.54 mm |  |  | 1 | 9.52 mm |  | 9.65 mm
|  | 2 | 9.49 mm |  | 9.57 mm |  |  | 2 | 9.51 mm |  | 9.28 mm
|  | 3 | 9.58 mm |  | 9.58 mm |  |  | 3 | 9.58 mm |  | 9.54 mm
|  | 4 | 9.50 mm |  | 9.65 mm |  |  | 4 | 9.47 mm |  | 9.80 mm
|  | 5 | 9.75 mm |  | 9.58 mm |  |  | 5 | 9.48 mm |  | 9.26 mm
|  | 6 | 9.51 mm |  | 9.50 mm |  |  | 6 | 9.55 mm |  | 9.45 mm
|  | 7 | 9.68 mm |  | 9.39 mm |  |  | 7 | 9.58 mm |  | 9.78 mm
|  | 8 | 9.75 mm |  | 9.52 mm |  |  | 8 | 9.50 mm |  | 9.24 mm
|  | 9 | 9.68 mm |  | 9.50 mm |  |  | 9 | 9.25 mm |  | 9.61 mm
|  | 10 | 9.30 mm |  | 9.54 mm |  |  | 10 | 9.46 mm |  | 9.83 mm
|  | Frame: | Excellent |  |  |  |  | Frame: | Excellent
|  | Joints: | Excellent |  |  |  |  | Joints: | Excellent
|  | Cloth: | Excellent |  |  |  |  | Cloth: | Excellent
|  | Tightness: | Excellent |  |  |  |  | Tightness: | Excellent
|  | Other: | [5 empty] | Other:
| Comments: | [5 empty] | Comments:
|  |  | Pass/Fail: | Pass |  |  |  |  | Pass/Fail: | Pass
|  |  | Initial By: | [5 empty] | Initial By:

## #4 Sieve
Sieve Calibration Worksheet
|  | Equipment ID: | #4 Sieve |  |  |  |  | Serial #: | 11147409
|  | Manufacturer: | Gilson |  |  |  |  | UofA ID: | NA
|  | Model #: | V8SF#004 |  |  |  |  | Location: | ST(218)
| Calibration Item: | Verify physical condition and critical dimensions for sieves (#4 and larger)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
| Requirement (according to AASHTO M 92) = |  |  |  |  | 4.75 ± 0.15 mm
(4.60mm - 4.90mm)
|  | Date: | 9/4/12 |  |  |  |  | Date: | 9/10/13
|  | Performed by: | Thomas Moss |  |  |  |  | Performed by: | Abiy G.
|  | Next Calib. Due: | Sept. 2013 |  |  |  |  | Next Calib. Due: | Sept. 2014
|  | Last Calibration: | Sept. 2011 |  |  |  |  | Last Calibration: | Sept. 2012
|  | 1 | 4.65 mm |  | 4.75 mm |  |  | 1 | 4.69 mm |  | 4.72 mm
|  | 2 | 4.74 mm |  | 4.74 mm |  |  | 2 | 4.74 mm |  | 4.85 mm
|  | 3 | 4.75 mm |  | 4.74 mm |  |  | 3 | 4.78 mm |  | 4.82 mm
|  | 4 | 4.80 mm |  | 4.83 mm |  |  | 4 | 4.79 mm |  | 4.80 mm
|  | 5 | 4.79 mm |  | 4.79 mm |  |  | 5 | 4.79 mm |  | 4.59 mm
|  | 6 | 4.77 mm |  | 4.83 mm |  |  | 6 | 4.74 mm |  | 4.75 mm
|  | 7 | 4.64 mm |  | 4.83 mm |  |  | 7 | 4.59 mm |  | 4.81 mm
|  | 8 | 4.82 mm |  | 4.85 mm |  |  | 8 | 4.73 mm |  | 4.87 mm
|  | 9 | 4.82 mm |  | 4.83 mm |  |  | 9 | 4.71 mm |  | 4.72 mm
|  | 10 | 4.80 mm |  | 4.72 mm |  |  | 10 | 4.81 mm |  | 4.86 mm
|  | Frame: | Excellent |  |  |  |  | Frame: | Excellent
|  | Joints: | Excellent |  |  |  |  | Joints: | Excellent
|  | Cloth: | Excellent |  |  |  |  | Cloth: | Excellent
|  | Tightness: | Excellent |  |  |  |  | Tightness: | Excellent
|  | Other: | [5 empty] | Other:
| Comments: | [5 empty] | Comments:
|  |  | Pass/Fail: | Pass |  |  |  |  | Pass/Fail: | Pass
|  |  | Initial By: | [5 empty] | Initial By:

## # 8 Sieve
Sieve Calibration Worksheet
| Equipment ID: | # 8 Sieve |  |  | Serial #: | 11147410
| Manufacturer: | Gilson |  |  | UofA ID: | NA
| Model #: | V8SF#008 |  |  | Location: | ST (218)
[5 empty] | Calibration Interval: | 12 months
| Calibration Item: | Verify physical condition of sieve and critical dimensions for
sieves larger than #4 (4.75 mm)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
Condition
Date | Frame | Joints | Cloth | Tightness | Pass / Fail | Checked By | Initial by
2011-04-14 | New | New | New | New | Pass | MF | sgw
2011-09-20 | Excellent | Excellent | Excellent | Excellent | Pass | Haley M. | sgw
2012-09-04 | Excellent | Excellent | Excellent | Excellent | Pass | Thomas M. | sgw
2013-09-10 | Excellent | Excellent | Excellent | Excellent | Pass | Abiy G.

## # 10 Sieve
Sieve Calibration Worksheet
| Equipment ID: | # 10 Sieve |  |  | Serial #: | 11147411
| Manufacturer: | Gilson |  |  | UofA ID: | NA
| Model #: | V8SF#010 |  |  | Location: | ST (218)
[5 empty] | Calibration Interval: | 12 months
| Calibration Item: | Verify physical condition of sieve and critical dimensions for
sieves larger than #4 (4.75 mm)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
Condition
Date | Frame | Joints | Cloth | Tightness | Pass / Fail | Checked By | Initial by
2011-04-14 | New | New | New | New | Pass | MF | sgw
2011-09-20 | Excellent | Excellent | Excellent | Excellent | Pass | Haley M. | sgw
2012-09-04 | Excellent | Excellent | Excellent | Excellent | Pass | Thomas M. | sgw
2013-09-10 | Excellent | Excellent | Excellent | Excellent | Pass | Abiy G.

## # 16 Sieve
Sieve Calibration Worksheet
| Equipment ID: | # 16 Sieve |  |  | Serial #: | 11147412
| Manufacturer: | Gilson |  |  | UofA ID: | NA
| Model #: | V8SF# 016 |  |  | Location: | ST (218)
[5 empty] | Calibration Interval: | 12 months
| Calibration Item: | Verify physical condition of sieve and critical dimensions for
sieves larger than #4 (4.75 mm)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
Condition
Date | Frame | Joints | Cloth | Tightness | Pass / Fail | Checked By | Initial by
2011-04-14 | New | New | New | New | Pass | MF | sgw
2011-09-20 | Excellent | Excellent | Excellent | Excellent | Pass | Haley M. | sgw
2012-09-04 | Excellent | Excellent | Excellent | Excellent | Pass | Thomas M. | sgw
2013-09-10 | Excellent | Excellent | Excellent | Excellent | Pass | Abiy G.

## # 30 Sieve
Sieve Calibration Worksheet
| Equipment ID: | # 30 Sieve |  |  | Serial #: | 11147413
| Manufacturer: | Gilson |  |  | UofA ID: | NA
| Model #: | V8SF#030 |  |  | Location: | ST (218)
[5 empty] | Calibration Interval: | 12 months
| Calibration Item: | Verify physical condition of sieve and critical dimensions for
sieves larger than #4 (4.75 mm)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
Condition
Date | Frame | Joints | Cloth | Tightness | Pass / Fail | Checked By | Initial by
2011-04-14 | New | New | New | New | Pass | MF | sgw
2011-09-20 | Excellent | Excellent | Excellent | Excellent | Pass | Haley M. | sgw
2012-09-04 | Excellent | Excellent | Excellent | Excellent | Pass | Thomas M. | sgw
2013-09-10 | Excellent | Excellent | Excellent | Excellent | Pass | Abiy G.

## # 40 Sieve
Sieve Calibration Worksheet
| Equipment ID: | # 40 Sieve |  |  | Serial #: | 11147414
| Manufacturer: | Gilson |  |  | UofA ID: | NA
| Model #: | V8SF# 040 |  |  | Location: | ST (218)
[5 empty] | Calibration Interval: | 12 months
| Calibration Item: | Verify physical condition of sieve and critical dimensions for
sieves larger than #4 (4.75 mm)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
Condition
Date | Frame | Joints | Cloth | Tightness | Pass / Fail | Checked By | Initial by
2011-04-14 | New | New | New | New | Pass | MF | sgw
2011-09-20 | Excellent | Excellent | Excellent | Excellent | Pass | Haley M. | sgw
2012-09-04 | Excellent | Excellent | Excellent | Excellent | Pass | Thomas M. | sgw
2013-09-10 | Excellent | Excellent | Excellent | Excellent | Pass | Abiy G.

## # 50 Sieve
Sieve Calibration Worksheet
| Equipment ID: | # 50 Sieve |  |  | Serial #: | 11147415
| Manufacturer: | Gilson |  |  | UofA ID: | NA
| Model #: | V8SF# 050 |  |  | Location: | ST (218)
[5 empty] | Calibration Interval: | 12 months
| Calibration Item: | Verify physical condition of sieve and critical dimensions for
sieves larger than #4 (4.75 mm)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
Condition
Date | Frame | Joints | Cloth | Tightness | Pass / Fail | Checked By | Initial by
2011-04-14 | New | New | New | New | Pass | MF | sgw
2011-09-20 | Excellent | Excellent | Excellent | Excellent | Pass | Haley M. | sgw
2012-09-04 | Excellent | Excellent | Excellent | Excellent | Pass | Thomas M. | sgw
2013-09-10 | Excellent | Excellent | Excellent | Excellent | Pass | Abiy G.

## # 100 Sieve
Sieve Calibration Worksheet
| Equipment ID: | # 100 Sieve |  |  | Serial #: | 11147416
| Manufacturer: | Gilson |  |  | UofA ID: | NA
| Model #: | V8SF#100 |  |  | Location: | ST (218)
[5 empty] | Calibration Interval: | 12 months
| Calibration Item: | Verify physical condition of sieve and critical dimensions for
sieves larger than #4 (4.75 mm)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
Condition
Date | Frame | Joints | Cloth | Tightness | Pass / Fail | Checked By | Initial by
2011-04-14 | New | New | New | New | Pass | MF | sgw
2011-09-20 | Excellent | Excellent | Excellent | Excellent | Pass | Haley M. | sgw
2012-09-04 | Excellent | Excellent | Excellent | Excellent | Pass | Thomas M. | sgw
2013-09-10 | Excellent | Excellent | Excellent | Excellent | Pass | Abiy G.

## # 200 Sieve
Sieve Calibration Worksheet
| Equipment ID: | # 200 Sieve |  |  | Serial #: | 11147417
| Manufacturer: | Gilson |  |  | UofA ID: | NA
| Model #: | V8SF#200 |  |  | Location: | ST (218)
[5 empty] | Calibration Interval: | 12 months
| Calibration Item: | Verify physical condition of sieve and critical dimensions for
sieves larger than #4 (4.75 mm)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
Condition
Date | Frame | Joints | Cloth | Tightness | Pass / Fail | Checked By | Initial by
2011-04-14 | New | New | New | New | Pass | MF | sgw
2011-09-20 | Excellent | Excellent | Excellent | Excellent | Pass | Haley M. | sgw
2012-09-04 | Excellent | Excellent | Excellent | Excellent | Pass | Thomas M. | sgw
2013-09-10 | Excellent | Excellent | Excellent | Excellent | Pass | Abiy G.

## # 200 Wash Sieve
Sieve Calibration Worksheet
| Equipment ID: | # 200 Wash Sieve |  |  | Serial #: | 5018767
| Manufacturer: | Gilson |  |  | UofA ID: | NA
| Model #: | V8 SF # 200 |  |  | Location: | ST (218)
[5 empty] | Calibration Interval: | 6 months
| Calibration Item: | Verify physical condition of sieve and critical dimensions for
sieves larger than #4 (4.75 mm)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
Condition
Date | Frame | Joints | Cloth | Tightness | Pass / Fail | Checked By | Initial by
2007-03-22 | New | New | New | New | Pass | SGW | sgw
2007-09-20 | Good | Good | Good | Good | Pass | AM | sgw
2008-03-19 | Good | Good | Good | Good | Pass | AM | sgw
2008-09-10 | OK | OK | OK | OK | Pass | BH | sgw
2009-03-27 | OK | OK | OK | OK | Pass | MF | sgw
2009-09-20 | OK | OK | OK | OK | Pass | MF | sgw
2010-03-15 | OK | OK | OK | OK | Pass | MF | sgw
2010-09-03 | OK | OK | OK | OK | Pass | MF | sgw
2011-03-01 | OK | OK | Small Marks | OK | Pass | MF | sgw
2011-09-20 | OK | OK | Small Marks | OK | Pass | Haley M. | sgw
2012-09-04 | OK | OK | Small Marks | OK | Pass | Thomas M. | sgw
2013-09-10 | OK | OK | Small Marks | OK | Pass | MF

## Fine Sieve Calibration
Sieve Calibration Worksheet
| Equipment ID: | Fine Sieves |  |  | Serial #:
| Manufacturer: | Gilson |  |  | UofA ID: | NA
| Model #: | V8CF - |  |  | Location: | ST (218)
[5 empty] | Calibration Interval: | 12 months
| Calibration Item: | Verify physical condition of sieve and critical dimensions for
sieves larger than #4 (4.75 mm)
| Calibration Procedure: | In-House Procedure #00-5
| Calibration Equipment: | Mititoyo Digimatic Calipers
March 2010
Condition
Sieve | Frame | Joints | Cloth | Tightness | Comments |  | Initial by
# 8
# 10
# 16
# 30
# 40
# 50
# 100
# 200
# 200 W
The fine sieves are logged on individual sheets in the equipment calibration manual.