## Straight Edge 2
Straight Edge Calibration
| Equipment ID: | Straight Edge 2 |  |  | Date: | 2010
| Manufacturer: | ELE |  |  | Last Calibration : | NA (new)
| Model #: | CN 838 |  |  | Perform On : | 12 month intervals
| Serial #: | NA |  |  |  | Interval Changed (R18)
| UofA ID: | NA
| Location: | STO (218)
| Calibration Item: | Verify planeness for straight edges
| Calibration Procedure: | In-House Procedure #00-16
| Calibration Equipment: | Steel Calibration Bar
Date: | Greatest Deviation Along Edge : (0.005") |  | Pass/Fail: | Performed By : | Comments | Next Calib. Due: | Initial by:
2010-05-20 | 0.002 |  | Pass | mf |  | Nov. 2010 | sgw
2010-11-12 | 0.002 |  | Pass | mf |  | May 2011 | sgw
2011-05-04 | 0.002 |  | Pass | mf |  | Nov. 2011 | sgw
2012-05-11 | 0.002 |  | Pass | mf |  | May 2013 | sgw
2013-05-06 | 0.002 |  | Pass | mf |  | May 2014 | sgw
2014-03-05 | 0.002 |  | Pass | mf |  | Mar. 2015 | sgw
2015-03-02 | 0.002 |  | Pass | mf |  | Mar. 2016 | sgw
2016-03-01 | 0.002 |  | Pass | mf |  | Mar. 2017

## Straight Edge 1
Straight Edge Calibration
| Equipment ID: | Straight Edge 1 |  |  | Date: | 2002
| Manufacturer: | ELE |  |  | Last Calibration : | NA (new)
| Model #: | CN 838 |  |  | Perform On : | 6 month intervals
| Serial #: | NA
| UofA ID: | NA
| Location: | STO (218)
| Calibration Item: | Verify planeness for straight edges
| Calibration Procedure: | In-House Procedure #00-16
| Calibration Equipment: | Steel Calibration Bar
Date: | Greatest Deviation Along Edge : (0.005") |  | Pass/Fail: | Performed By : | Comments | Next Calib. Due: | Initial by:
2001-06-14 | 0.005 |  | Pass | sgw |  | June 2002 | sgw
2002-06-14 | 0.005 |  | Pass | sgw |  | June 2003 | sgw
2003-04-24 | 0.004 |  | Pass | sgw |  | April 2004 | sgw
2004-05-04 | 0.004 |  | Pass | sgw |  | Nov. 2004 | sgw
2004-11-10 | 0.004 |  | Pass | sgw |  | May 2005 | sgw
2005-05-12 | 0.005 |  | Pass | sgw |  | Nov. 2005 | sgw
2005-11-15 | 0.005 |  | Pass | sgw |  | May 2006 | sgw
2006-05-12 | 0.005 |  | Pass | sgw |  | Nov. 2006 | sgw
2006-11-28 | 0.005 |  | Pass | sgw |  | May 2007 | sgw
2007-05-21 | 0.005 |  | Pass | sgw |  | Nov. 2007 | sgw
2007-11-30 | 0.005 |  | Pass | sgw |  | May 2008 | sgw
2008-05-30 | 0.005 |  | Pass | sgw |  | Nov. 2008 | sgw
2008-11-21 | 0.005 |  | Pass | sgw |  | May 2009 | sgw
2009-05-01 | 0.005 |  | Pass | mf |  | Nov. 2009 | sgw
2009-11-30 | 0.005 |  | Pass | mf |  | May 2010 | sgw
2010-05-03 | 0.008 |  | Fail | mf | Bar Warped | Nov. 2010 | sgw
Starightedge Replaced May 2010 with Straightedge # 2