## Fluke D1
OUT-OF-SERVICE
EQUIPMENT REPORT
| Equipment ID: | Digital Thermometer D 1 |  | Date Removed from Service: | Sept. 2015
| Manufacturer: | Fluke |  | Removed by: | mmf
| Location: | ST (218) |  | Equip. Failure Incident #: | NA
|  | Reason for being Out of Service: | Frozen ouput.
Donated to CVEG Lab
|  | Corrective Action Taken: | Replaced with Fluke Digital D 4
Date Returned to Service:

## Control D3
OUT-OF-SERVICE
EQUIPMENT REPORT
| Equipment ID: | Digital Thermometer D 3 |  | Date Removed from Service: | Sept. 2015
| Manufacturer: | Control |  | Removed by: | mmf
| Location: | ST (218) |  | Equip. Failure Incident #: | NA
|  | Reason for being Out of Service: | Not needed.
|  | Corrective Action Taken: | None
Date Returned to Service: