## Kessler (Dial)(SP 7)
Thermometer Calibration Worksheet
Equipment ID: | Thermometer (Sulfur Pot) 7 |  |  | Date: | April 2010
Manufacturer: | Kessler |  |  | Performed by: | Mary Fleck
Model #: | Gilson MA - 122
Serial #: | NA |  |  | Next Calibration Due: | October 2010
UofA ID: | 30 - 300° F (2°) |  |  | Last Calibration: | October 2009
Location: | STO (218)
|  |  |  | Typical Set Temperature: | 265 °F | deg.
(Sulfur)
| Calibration Item: |  | Verify temperature readings
| Calibration Procedure: |  | In-House Procedure #00-9
| Calibration Equipment: |  | NIST Traceable Calibration Thermometers, ASTM 63F, 65F, 67F
Temperature Measurement (deg.)
| Temp. Setting |  | Reading | Correction
| 41 |  | 40.5 | 0.5
| 116.4 |  | 116.5 | -0.1
| 294 |  | 294.5 | -0.5
.
| Pass/Fail: |  | Pass
| Comments: |  | No correction needed.
[5 empty] | Initial By: | sgw

## Kessler (Dial)(SP 7) (2)
Thermometer Calibration Worksheet
Equipment ID: | Thermometer (Sulfur Pot) 7 |  |  | Date: | October 2010
Manufacturer: | Kessler |  |  | Performed by: | M. Fleck
Model #: | Gilson MA - 122
Serial #: | NA |  |  | Next Calibration Due: | April 2011
UofA ID: | 30 - 300° F (2°) |  |  | Last Calibration: | April 2010
Location: | STO (218)
|  |  |  | Typical Set Temperature: | 265 °F | deg.
(Sulfur)
| Calibration Item: |  | Verify temperature readings
| Calibration Procedure: |  | In-House Procedure #00-9
| Calibration Equipment: |  | NIST Traceable Calibration Thermometers, ASTM 63F, 65F, 67F
Temperature Measurement (deg.)
| Temp. Setting |  | Reading | Correction
| 45 |  | 44 | 1
| 220 |  | 220 | 0
| 273 |  | 273 | 0
.
| Pass/Fail: |  | Pass
| Comments: |  | No correction needed.
[5 empty] | Initial By: | sgw

## Kessler (Dial)(CA 2)
Thermometer Calibration Worksheet
Equipment ID: | Concrete Thermometer 2 |  |  | Date: | April 2010
Manufacturer: | Gilson (Kessler) |  |  | Performed by: | Mary Fleck
Model #: | MA 121F
Serial #: | NA |  |  | Next Calibration Due: | April 2011
UofA ID: | 25 - 125° F (1 °) |  |  | Last Calibration: | April 2009
Location: | Stor (218)
|  |  |  | Typical Set Temperature: | 70 ° F | deg.
| Calibration Item: |  | Verify temperature readings
| Calibration Procedure: |  | In-House Procedure #00-9
| Calibration Equipment: |  | NIST Traceable Calibration Thermometers, ASTM 63F, cat# 1322
Temperature Measurement (deg.)
| Temp. Setting |  | Reading | Correction
| 41 |  | 40.5 | 0.5
| 68.6 |  | 68.5 | 0.1
| 116.4 |  | 116.5 | -0.1
.
| Pass/Fail: |  | Pass
Comments:
[5 empty] | Initial By: | sgw