## Sheet1
Pine AFG1 Compactor Verification Notes
1. | Turn on compactor and allow to warm up 15 minutes
2. | Clean compactor chamber, ram foot top, and top plate using WD 40 on a rag
3. | Clamp top plate in place
4. | Clean ram foot spacer using WD 40 and dry
5. | Verify Force / Height
|  | ► | Calibration | ←
|  | ► | Verify | ←
|  | ► | Force/Height | ←
6. | Press [ START ] to raise ram foot
7. | Clean both plates beneath ram foot with WD 40 on a rag and dry
8. | Insert both ram foot spacers
9. | Press [ START ] to lower ram foot
10. | Place proving ring in chamber and center under thrust
11. | Place steel plate on top of proving ring and center
12. | Press [ START ] to flex ring
13. | Zero dial indicator (loosen set screw, rotate bevel, tighten set screw)
14. | Press [ START ] to load ring
15. | Record dial reading
16. | Compare to 1% range for 5,000 N on chart (under top foam in case)
19. | Press [ START ] to load again
20. | Record dial reading
21. | Compare to 1% Range for 10,500 N on chart
22. | Press [ START ] to park ram foot
23. | Press [ - ] if out (option to repeat or abort)
24. | Press [ + ] if ok